## methods
EUPT-FV-SM10 (Pesticides in the blank material)
FILL IN YOUR LAB CODE
Lab Code:
lab | Pesticide name: | Estimated concentration (mg/kg) | Calibration for quantification | Sample weight, g: | Extraction solvent 1: | Extraction solvent 2: | Extraction solvent 3: | Is the pH adjusted? | Agitation mode: | Agitation time (s): | Clean up: | Chromatographic Technique: | Detector | Analyser: | Ionization Mode: | Polarity | How was the identification done? | RT Deviation (s): | MS Tolerance (ppm): | Other identification details (e.g. 1 transition, 2 transitions, accurate mass): | Is this pesticide included in your routine scope? (Yes/No)? | What is your screening detection limit (mg/kg)? | Full Scan? | Instrument model: | Column Type: | Injecton Volume (µL): | Software | No. of PESTICIDES in method or library (only pesticides) | How frequently do you use a standard solution for your screening method?
[5 empty] | Please if you choose "other" specify the data | Please if you choose "other" specify the data | Please if you choose "other" specify the data |  |  |  | Please if you choose "other" specify the data |  | Please if you choose "other" specify the data | Please if you choose "other" specify the data | Please if you choose "other" specify the data
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
Note on C8: (mg/kg)
Note on C9: (mg/kg)
Note on C10: (mg/kg)
Note on C11: (mg/kg)
Note on C12: (mg/kg)
Note on C13: (mg/kg)
Note on C14: (mg/kg)
Note on C15: (mg/kg)
Note on C16: (mg/kg)
Note on C17: (mg/kg)
Note on C18: (mg/kg)
Note on C19: (mg/kg)
Note on C20: (mg/kg)
Note on C21: (mg/kg)
Note on C22: (mg/kg)
Note on C23: (mg/kg)
Note on C24: (mg/kg)
Note on C25: (mg/kg)
Note on C26: (mg/kg)
Note on C27: (mg/kg)
Note on C28: (mg/kg)
Note on C29: (mg/kg)
Note on C30: (mg/kg)
Note on C31: (mg/kg)
Note on C32: (mg/kg)
Note on C33: (mg/kg)
Note on C34: (mg/kg)
Note on C35: (mg/kg)
Note on C36: (mg/kg)
Note on C37: (mg/kg)
Note on C38: (mg/kg)
Note on C39: (mg/kg)
Note on C40: (mg/kg)
Note on D8: solvent based-single level solvent based-multiple level matrix matched-single level matrix matched- multiple level
Note on D9: solvent based-single level solvent based-multiple level matrix matched-single level matrix matched- multiple level
Note on D10: solvent based-single level solvent based-multiple level matrix matched-single level matrix matched- multiple level
Note on D11: solvent based-single level solvent based-multiple level matrix matched-single level matrix matched- multiple level
Note on D12: solvent based-single level solvent based-multiple level matrix matched-single level matrix matched- multiple level
Note on D13: solvent based-single level solvent based-multiple level matrix matched-single level matrix matched- multiple level
Note on D14: solvent based-single level solvent based-multiple level matrix matched-single level matrix matched- multiple level
Note on D15: solvent based-single level solvent based-multiple level matrix matched-single level matrix matched- multiple level
Note on D16: solvent based-single level solvent based-multiple level matrix matched-single level matrix matched- multiple level
Note on D17: solvent based-single level solvent based-multiple level matrix matched-single level matrix matched- multiple level
Note on D18: solvent based-single level solvent based-multiple level matrix matched-single level matrix matched- multiple level
Note on D19: solvent based-single level solvent based-multiple level matrix matched-single level matrix matched- multiple level
Note on D20: solvent based-single level solvent based-multiple level matrix matched-single level matrix matched- multiple level
Note on D21: solvent based-single level solvent based-multiple level matrix matched-single level matrix matched- multiple level
Note on D22: solvent based-single level solvent based-multiple level matrix matched-single level matrix matched- multiple level
Note on D23: solvent based-single level solvent based-multiple level matrix matched-single level matrix matched- multiple level
Note on D24: solvent based-single level solvent based-multiple level matrix matched-single level matrix matched- multiple level
Note on D25: solvent based-single level solvent based-multiple level matrix matched-single level matrix matched- multiple level
Note on D26: solvent based-single level solvent based-multiple level matrix matched-single level matrix matched- multiple level
Note on D27: solvent based-single level solvent based-multiple level matrix matched-single level matrix matched- multiple level
Note on D28: solvent based-single level solvent based-multiple level matrix matched-single level matrix matched- multiple level
Note on D29: solvent based-single level solvent based-multiple level matrix matched-single level matrix matched- multiple level
Note on D30: solvent based-single level solvent based-multiple level matrix matched-single level matrix matched- multiple level
Note on D31: solvent based-single level solvent based-multiple level matrix matched-single level matrix matched- multiple level
Note on D32: solvent based-single level solvent based-multiple level matrix matched-single level matrix matched- multiple level
Note on D33: solvent based-single level solvent based-multiple level matrix matched-single level matrix matched- multiple level
Note on D34: solvent based-single level solvent based-multiple level matrix matched-single level matrix matched- multiple level
Note on D35: solvent based-single level solvent based-multiple level matrix matched-single level matrix matched- multiple level
Note on D36: solvent based-single level solvent based-multiple level matrix matched-single level matrix matched- multiple level
Note on D37: solvent based-single level solvent based-multiple level matrix matched-single level matrix matched- multiple level
Note on D38: solvent based-single level solvent based-multiple level matrix matched-single level matrix matched- multiple level
Note on D39: solvent based-single level solvent based-multiple level matrix matched-single level matrix matched- multiple level
Note on D40: solvent based-single level solvent based-multiple level matrix matched-single level matrix matched- multiple level
Note on E8: g
Note on E9: g
Note on E10: g
Note on E11: g
Note on E12: g
Note on E13: g
Note on E14: g
Note on E15: g
Note on E16: g
Note on E17: g
Note on E18: g
Note on E19: g
Note on E20: g
Note on E21: g
Note on E22: g
Note on E23: g
Note on E24: g
Note on E25: g
Note on E26: g
Note on E27: g
Note on E28: g
Note on E29: g
Note on E30: g
Note on E31: g
Note on E32: g
Note on E33: g
Note on E34: g
Note on E35: g
Note on E36: g
Note on E37: g
Note on E38: g
Note on E39: g
Note on E40: g
Note on F8: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on F9: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on F10: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on F11: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on F12: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on F13: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on F14: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on F15: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on F16: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on F17: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on F18: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on F19: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on F20: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on F21: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on F22: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on F23: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on F24: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on F25: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on F26: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on F27: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on F28: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on F29: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on F30: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on F31: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on F32: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on F33: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on F34: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on F35: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on F36: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on F37: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on F38: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on F39: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on F40: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on G8: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on G9: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on G10: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on G11: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on G12: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on G13: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on G14: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on G15: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on G16: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on G17: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on G18: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on G19: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on G20: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on G21: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on G22: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on G23: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on G24: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on G25: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on G26: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on G27: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on G28: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on G29: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on G30: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on G31: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on G32: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on G33: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on G34: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on G35: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on G36: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on G37: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on G38: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on G39: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on G40: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on H8: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on H9: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on H10: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on H11: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on H12: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on H13: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on H14: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on H15: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on H16: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on H17: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on H18: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on H19: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on H20: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on H21: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on H22: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on H23: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on H24: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on H25: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on H26: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on H27: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on H28: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on H29: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on H30: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on H31: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on H32: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on H33: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on H34: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on H35: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on H36: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on H37: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on H38: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on H39: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on H40: Acetone Acetonitrile Cyclohexane Dichloromethane Ethyl acetate Methanol Petroleum ether Other (specify)
Note on I8: Yes No
Note on I9: Yes No
Note on I10: Yes No
Note on I11: Yes No
Note on I12: Yes No
Note on I13: Yes No
Note on I14: Yes No
Note on I15: Yes No
Note on I16: Yes No
Note on I17: Yes No
Note on I18: Yes No
Note on I19: Yes No
Note on I20: Yes No
Note on I21: Yes No
Note on I22: Yes No
Note on I23: Yes No
Note on I24: Yes No
Note on I25: Yes No
Note on I26: Yes No
Note on I27: Yes No
Note on I28: Yes No
Note on I29: Yes No
Note on I30: Yes No
Note on I31: Yes No
Note on I32: Yes No
Note on I33: Yes No
Note on I34: Yes No
Note on I35: Yes No
Note on I36: Yes No
Note on I37: Yes No
Note on I38: Yes No
Note on I39: Yes No
Note on I40: Yes No
Note on J8: None Manual Mechanical Both
Note on J9: None Manual Mechanical Both
Note on J10: None Manual Mechanical Both
Note on J11: None Manual Mechanical Both
Note on J12: None Manual Mechanical Both
Note on J13: None Manual Mechanical Both
Note on J14: None Manual Mechanical Both
Note on J15: None Manual Mechanical Both
Note on J16: None Manual Mechanical Both
Note on J17: None Manual Mechanical Both
Note on J18: None Manual Mechanical Both
Note on J19: None Manual Mechanical Both
Note on J20: None Manual Mechanical Both
Note on J21: None Manual Mechanical Both
Note on J22: None Manual Mechanical Both
Note on J23: None Manual Mechanical Both
Note on J24: None Manual Mechanical Both
Note on J25: None Manual Mechanical Both
Note on J26: None Manual Mechanical Both
Note on J27: None Manual Mechanical Both
Note on J28: None Manual Mechanical Both
Note on J29: None Manual Mechanical Both
Note on J30: None Manual Mechanical Both
Note on J31: None Manual Mechanical Both
Note on J32: None Manual Mechanical Both
Note on J33: None Manual Mechanical Both
Note on J34: None Manual Mechanical Both
Note on J35: None Manual Mechanical Both
Note on J36: None Manual Mechanical Both
Note on J37: None Manual Mechanical Both
Note on J38: None Manual Mechanical Both
Note on J39: None Manual Mechanical Both
Note on J40: None Manual Mechanical Both
Note on K8: S
Note on K9: S
Note on K10: S
Note on K11: S
Note on K12: S
Note on K13: S
Note on K14: S
Note on K15: S
Note on K16: S
Note on K17: S
Note on K18: S
Note on K19: S
Note on K20: S
Note on K21: S
Note on K22: S
Note on K23: S
Note on K24: S
Note on K25: S
Note on K26: S
Note on K27: S
Note on K28: S
Note on K29: S
Note on K30: S
Note on K31: S
Note on K32: S
Note on K33: S
Note on K34: S
Note on K35: S
Note on K36: S
Note on K37: S
Note on K38: S
Note on K39: S
Note on K40: S
Note on L8: SPE DSPE GPC Liquid-Liquid Partitioning Freezing out None Other (specify)
Note on L9: SPE DSPE GPC Liquid-Liquid Partitioning Freezing out None Other (specify)
Note on L10: SPE DSPE GPC Liquid-Liquid Partitioning Freezing out None Other (specify)
Note on L11: SPE DSPE GPC Liquid-Liquid Partitioning Freezing out None Other (specify)
Note on L12: SPE DSPE GPC Liquid-Liquid Partitioning Freezing out None Other (specify)
Note on L13: SPE DSPE GPC Liquid-Liquid Partitioning Freezing out None Other (specify)
Note on L14: SPE DSPE GPC Liquid-Liquid Partitioning Freezing out None Other (specify)
Note on L15: SPE DSPE GPC Liquid-Liquid Partitioning Freezing out None Other (specify)
Note on L16: SPE DSPE GPC Liquid-Liquid Partitioning Freezing out None Other (specify)
Note on L17: SPE DSPE GPC Liquid-Liquid Partitioning Freezing out None Other (specify)
Note on L18: SPE DSPE GPC Liquid-Liquid Partitioning Freezing out None Other (specify)
Note on L19: SPE DSPE GPC Liquid-Liquid Partitioning Freezing out None Other (specify)
Note on L20: SPE DSPE GPC Liquid-Liquid Partitioning Freezing out None Other (specify)
Note on L21: SPE DSPE GPC Liquid-Liquid Partitioning Freezing out None Other (specify)
Note on L22: SPE DSPE GPC Liquid-Liquid Partitioning Freezing out None Other (specify)
Note on L23: SPE DSPE GPC Liquid-Liquid Partitioning Freezing out None Other (specify)
Note on L24: SPE DSPE GPC Liquid-Liquid Partitioning Freezing out None Other (specify)
Note on L25: SPE DSPE GPC Liquid-Liquid Partitioning Freezing out None Other (specify)
Note on L26: SPE DSPE GPC Liquid-Liquid Partitioning Freezing out None Other (specify)
Note on L27: SPE DSPE GPC Liquid-Liquid Partitioning Freezing out None Other (specify)
Note on L28: SPE DSPE GPC Liquid-Liquid Partitioning Freezing out None Other (specify)
Note on L29: SPE DSPE GPC Liquid-Liquid Partitioning Freezing out None Other (specify)
Note on L30: SPE DSPE GPC Liquid-Liquid Partitioning Freezing out None Other (specify)
Note on L31: SPE DSPE GPC Liquid-Liquid Partitioning Freezing out None Other (specify)
Note on L32: SPE DSPE GPC Liquid-Liquid Partitioning Freezing out None Other (specify)
Note on L33: SPE DSPE GPC Liquid-Liquid Partitioning Freezing out None Other (specify)
Note on L34: SPE DSPE GPC Liquid-Liquid Partitioning Freezing out None Other (specify)
Note on L35: SPE DSPE GPC Liquid-Liquid Partitioning Freezing out None Other (specify)
Note on L36: SPE DSPE GPC Liquid-Liquid Partitioning Freezing out None Other (specify)
Note on L37: SPE DSPE GPC Liquid-Liquid Partitioning Freezing out None Other (specify)
Note on L38: SPE DSPE GPC Liquid-Liquid Partitioning Freezing out None Other (specify)
Note on L39: SPE DSPE GPC Liquid-Liquid Partitioning Freezing out None Other (specify)
Note on L40: SPE DSPE GPC Liquid-Liquid Partitioning Freezing out None Other (specify)
Note on M8: LC GC
Note on M9: LC GC
Note on M10: LC GC
Note on M11: LC GC
Note on M12: LC GC
Note on M13: LC GC
Note on M14: LC GC
Note on M15: LC GC
Note on M16: LC GC
Note on M17: LC GC
Note on M18: LC GC
Note on M19: LC GC
Note on M20: LC GC
Note on M21: LC GC
Note on M22: LC GC
Note on M23: LC GC
Note on M24: LC GC
Note on M25: LC GC
Note on M26: LC GC
Note on M27: LC GC
Note on M28: LC GC
Note on M29: LC GC
Note on M30: LC GC
Note on M31: LC GC
Note on M32: LC GC
Note on M33: LC GC
Note on M34: LC GC
Note on M35: LC GC
Note on M36: LC GC
Note on M37: LC GC
Note on M38: LC GC
Note on M39: LC GC
Note on M40: LC GC
Note on N8: MS MS/MS ECD NPD FPD FID DAD Fluorescence UV MS Other (specify)
Note on N9: MS MS/MS ECD NPD FPD FID DAD Fluorescence UV MS Other (specify)
Note on N10: MS MS/MS ECD NPD FPD FID DAD Fluorescence UV MS Other (specify)
Note on N11: MS MS/MS ECD NPD FPD FID DAD Fluorescence UV MS Other (specify)
Note on N12: MS MS/MS ECD NPD FPD FID DAD Fluorescence UV MS Other (specify)
Note on N13: MS MS/MS ECD NPD FPD FID DAD Fluorescence UV MS Other (specify)
Note on N14: MS MS/MS ECD NPD FPD FID DAD Fluorescence UV MS Other (specify)
Note on N15: MS MS/MS ECD NPD FPD FID DAD Fluorescence UV MS Other (specify)
Note on N16: MS MS/MS ECD NPD FPD FID DAD Fluorescence UV MS Other (specify)
Note on N17: MS MS/MS ECD NPD FPD FID DAD Fluorescence UV MS Other (specify)
Note on N18: MS MS/MS ECD NPD FPD FID DAD Fluorescence UV MS Other (specify)
Note on N19: MS MS/MS ECD NPD FPD FID DAD Fluorescence UV MS Other (specify)
Note on N20: MS MS/MS ECD NPD FPD FID DAD Fluorescence UV MS Other (specify)
Note on N21: MS MS/MS ECD NPD FPD FID DAD Fluorescence UV MS Other (specify)
Note on N22: MS MS/MS ECD NPD FPD FID DAD Fluorescence UV MS Other (specify)
Note on N23: MS MS/MS ECD NPD FPD FID DAD Fluorescence UV MS Other (specify)
Note on N24: MS MS/MS ECD NPD FPD FID DAD Fluorescence UV MS Other (specify)
Note on N25: MS MS/MS ECD NPD FPD FID DAD Fluorescence UV MS Other (specify)
Note on N26: MS MS/MS ECD NPD FPD FID DAD Fluorescence UV MS Other (specify)
Note on N27: MS MS/MS ECD NPD FPD FID DAD Fluorescence UV MS Other (specify)
Note on N28: MS MS/MS ECD NPD FPD FID DAD Fluorescence UV MS Other (specify)
Note on N29: MS MS/MS ECD NPD FPD FID DAD Fluorescence UV MS Other (specify)
Note on N30: MS MS/MS ECD NPD FPD FID DAD Fluorescence UV MS Other (specify)
Note on N31: MS MS/MS ECD NPD FPD FID DAD Fluorescence UV MS Other (specify)
Note on N32: MS MS/MS ECD NPD FPD FID DAD Fluorescence UV MS Other (specify)
Note on N33: MS MS/MS ECD NPD FPD FID DAD Fluorescence UV MS Other (specify)
Note on N34: MS MS/MS ECD NPD FPD FID DAD Fluorescence UV MS Other (specify)
Note on N35: MS MS/MS ECD NPD FPD FID DAD Fluorescence UV MS Other (specify)
Note on N36: MS MS/MS ECD NPD FPD FID DAD Fluorescence UV MS Other (specify)
Note on N37: MS MS/MS ECD NPD FPD FID DAD Fluorescence UV MS Other (specify)
Note on N38: MS MS/MS ECD NPD FPD FID DAD Fluorescence UV MS Other (specify)
Note on N39: MS MS/MS ECD NPD FPD FID DAD Fluorescence UV MS Other (specify)
Note on N40: MS MS/MS ECD NPD FPD FID DAD Fluorescence UV MS Other (specify)
Note on O8: Single Quadrupole Triple Quadrupole Ion trap TOF Q-TOF Q-trap Orbitrap Q-Orbitrap Other (specify)
Note on O9: Single Quadrupole Triple Quadrupole Ion trap TOF Q-TOF Q-trap Orbitrap Q-Orbitrap Other (specify)
Note on O10: Single Quadrupole Triple Quadrupole Ion trap TOF Q-TOF Q-trap Orbitrap Q-Orbitrap Other (specify)
Note on O11: Single Quadrupole Triple Quadrupole Ion trap TOF Q-TOF Q-trap Orbitrap Q-Orbitrap Other (specify)
Note on O12: Single Quadrupole Triple Quadrupole Ion trap TOF Q-TOF Q-trap Orbitrap Q-Orbitrap Other (specify)
Note on O13: Single Quadrupole Triple Quadrupole Ion trap TOF Q-TOF Q-trap Orbitrap Q-Orbitrap Other (specify)
Note on O14: Single Quadrupole Triple Quadrupole Ion trap TOF Q-TOF Q-trap Orbitrap Q-Orbitrap Other (specify)
Note on O15: Single Quadrupole Triple Quadrupole Ion trap TOF Q-TOF Q-trap Orbitrap Q-Orbitrap Other (specify)
Note on O16: Single Quadrupole Triple Quadrupole Ion trap TOF Q-TOF Q-trap Orbitrap Q-Orbitrap Other (specify)
Note on O17: Single Quadrupole Triple Quadrupole Ion trap TOF Q-TOF Q-trap Orbitrap Q-Orbitrap Other (specify)
Note on O18: Single Quadrupole Triple Quadrupole Ion trap TOF Q-TOF Q-trap Orbitrap Q-Orbitrap Other (specify)
Note on O19: Single Quadrupole Triple Quadrupole Ion trap TOF Q-TOF Q-trap Orbitrap Q-Orbitrap Other (specify)
Note on O20: Single Quadrupole Triple Quadrupole Ion trap TOF Q-TOF Q-trap Orbitrap Q-Orbitrap Other (specify)
Note on O21: Single Quadrupole Triple Quadrupole Ion trap TOF Q-TOF Q-trap Orbitrap Q-Orbitrap Other (specify)
Note on O22: Single Quadrupole Triple Quadrupole Ion trap TOF Q-TOF Q-trap Orbitrap Q-Orbitrap Other (specify)
Note on O23: Single Quadrupole Triple Quadrupole Ion trap TOF Q-TOF Q-trap Orbitrap Q-Orbitrap Other (specify)
Note on O24: Single Quadrupole Triple Quadrupole Ion trap TOF Q-TOF Q-trap Orbitrap Q-Orbitrap Other (specify)
Note on O25: Single Quadrupole Triple Quadrupole Ion trap TOF Q-TOF Q-trap Orbitrap Q-Orbitrap Other (specify)
Note on O26: Single Quadrupole Triple Quadrupole Ion trap TOF Q-TOF Q-trap Orbitrap Q-Orbitrap Other (specify)
Note on O27: Single Quadrupole Triple Quadrupole Ion trap TOF Q-TOF Q-trap Orbitrap Q-Orbitrap Other (specify)
Note on O28: Single Quadrupole Triple Quadrupole Ion trap TOF Q-TOF Q-trap Orbitrap Q-Orbitrap Other (specify)
Note on O29: Single Quadrupole Triple Quadrupole Ion trap TOF Q-TOF Q-trap Orbitrap Q-Orbitrap Other (specify)
Note on O30: Single Quadrupole Triple Quadrupole Ion trap TOF Q-TOF Q-trap Orbitrap Q-Orbitrap Other (specify)
Note on O31: Single Quadrupole Triple Quadrupole Ion trap TOF Q-TOF Q-trap Orbitrap Q-Orbitrap Other (specify)
Note on O32: Single Quadrupole Triple Quadrupole Ion trap TOF Q-TOF Q-trap Orbitrap Q-Orbitrap Other (specify)
Note on O33: Single Quadrupole Triple Quadrupole Ion trap TOF Q-TOF Q-trap Orbitrap Q-Orbitrap Other (specify)
Note on O34: Single Quadrupole Triple Quadrupole Ion trap TOF Q-TOF Q-trap Orbitrap Q-Orbitrap Other (specify)
Note on O35: Single Quadrupole Triple Quadrupole Ion trap TOF Q-TOF Q-trap Orbitrap Q-Orbitrap Other (specify)
Note on O36: Single Quadrupole Triple Quadrupole Ion trap TOF Q-TOF Q-trap Orbitrap Q-Orbitrap Other (specify)
Note on O37: Single Quadrupole Triple Quadrupole Ion trap TOF Q-TOF Q-trap Orbitrap Q-Orbitrap Other (specify)
Note on O38: Single Quadrupole Triple Quadrupole Ion trap TOF Q-TOF Q-trap Orbitrap Q-Orbitrap Other (specify)
Note on O39: Single Quadrupole Triple Quadrupole Ion trap TOF Q-TOF Q-trap Orbitrap Q-Orbitrap Other (specify)
Note on O40: Single Quadrupole Triple Quadrupole Ion trap TOF Q-TOF Q-trap Orbitrap Q-Orbitrap Other (specify)
Note on P8: Electron Impact (EI) Chemical Ionisation (CI) Electrospray Ionisation (ESI) Atmospheric Pressure Chemical Ionisation (APCI ) Other (specify)
Note on P9: Electron Impact (EI) Chemical Ionisation (CI) Electrospray Ionisation (ESI) Atmospheric Pressure Chemical Ionisation (APCI ) Other (specify)
Note on P10: Electron Impact (EI) Chemical Ionisation (CI) Electrospray Ionisation (ESI) Atmospheric Pressure Chemical Ionisation (APCI ) Other (specify)
Note on P11: Electron Impact (EI) Chemical Ionisation (CI) Electrospray Ionisation (ESI) Atmospheric Pressure Chemical Ionisation (APCI ) Other (specify)
Note on P12: Electron Impact (EI) Chemical Ionisation (CI) Electrospray Ionisation (ESI) Atmospheric Pressure Chemical Ionisation (APCI ) Other (specify)
Note on P13: Electron Impact (EI) Chemical Ionisation (CI) Electrospray Ionisation (ESI) Atmospheric Pressure Chemical Ionisation (APCI ) Other (specify)
Note on P14: Electron Impact (EI) Chemical Ionisation (CI) Electrospray Ionisation (ESI) Atmospheric Pressure Chemical Ionisation (APCI ) Other (specify)
Note on P15: Electron Impact (EI) Chemical Ionisation (CI) Electrospray Ionisation (ESI) Atmospheric Pressure Chemical Ionisation (APCI ) Other (specify)
Note on P16: Electron Impact (EI) Chemical Ionisation (CI) Electrospray Ionisation (ESI) Atmospheric Pressure Chemical Ionisation (APCI ) Other (specify)
Note on P17: Electron Impact (EI) Chemical Ionisation (CI) Electrospray Ionisation (ESI) Atmospheric Pressure Chemical Ionisation (APCI ) Other (specify)
Note on P18: Electron Impact (EI) Chemical Ionisation (CI) Electrospray Ionisation (ESI) Atmospheric Pressure Chemical Ionisation (APCI ) Other (specify)
Note on P19: Electron Impact (EI) Chemical Ionisation (CI) Electrospray Ionisation (ESI) Atmospheric Pressure Chemical Ionisation (APCI ) Other (specify)
Note on P20: Electron Impact (EI) Chemical Ionisation (CI) Electrospray Ionisation (ESI) Atmospheric Pressure Chemical Ionisation (APCI ) Other (specify)
Note on P21: Electron Impact (EI) Chemical Ionisation (CI) Electrospray Ionisation (ESI) Atmospheric Pressure Chemical Ionisation (APCI ) Other (specify)
Note on P22: Electron Impact (EI) Chemical Ionisation (CI) Electrospray Ionisation (ESI) Atmospheric Pressure Chemical Ionisation (APCI ) Other (specify)
Note on P23: Electron Impact (EI) Chemical Ionisation (CI) Electrospray Ionisation (ESI) Atmospheric Pressure Chemical Ionisation (APCI ) Other (specify)
Note on P24: Electron Impact (EI) Chemical Ionisation (CI) Electrospray Ionisation (ESI) Atmospheric Pressure Chemical Ionisation (APCI ) Other (specify)
Note on P25: Electron Impact (EI) Chemical Ionisation (CI) Electrospray Ionisation (ESI) Atmospheric Pressure Chemical Ionisation (APCI ) Other (specify)
Note on P26: Electron Impact (EI) Chemical Ionisation (CI) Electrospray Ionisation (ESI) Atmospheric Pressure Chemical Ionisation (APCI ) Other (specify)
Note on P27: Electron Impact (EI) Chemical Ionisation (CI) Electrospray Ionisation (ESI) Atmospheric Pressure Chemical Ionisation (APCI ) Other (specify)
Note on P28: Electron Impact (EI) Chemical Ionisation (CI) Electrospray Ionisation (ESI) Atmospheric Pressure Chemical Ionisation (APCI ) Other (specify)
Note on P29: Electron Impact (EI) Chemical Ionisation (CI) Electrospray Ionisation (ESI) Atmospheric Pressure Chemical Ionisation (APCI ) Other (specify)
Note on P30: Electron Impact (EI) Chemical Ionisation (CI) Electrospray Ionisation (ESI) Atmospheric Pressure Chemical Ionisation (APCI ) Other (specify)
Note on P31: Electron Impact (EI) Chemical Ionisation (CI) Electrospray Ionisation (ESI) Atmospheric Pressure Chemical Ionisation (APCI ) Other (specify)
Note on P32: Electron Impact (EI) Chemical Ionisation (CI) Electrospray Ionisation (ESI) Atmospheric Pressure Chemical Ionisation (APCI ) Other (specify)
Note on P33: Electron Impact (EI) Chemical Ionisation (CI) Electrospray Ionisation (ESI) Atmospheric Pressure Chemical Ionisation (APCI ) Other (specify)
Note on P34: Electron Impact (EI) Chemical Ionisation (CI) Electrospray Ionisation (ESI) Atmospheric Pressure Chemical Ionisation (APCI ) Other (specify)
Note on P35: Electron Impact (EI) Chemical Ionisation (CI) Electrospray Ionisation (ESI) Atmospheric Pressure Chemical Ionisation (APCI ) Other (specify)
Note on P36: Electron Impact (EI) Chemical Ionisation (CI) Electrospray Ionisation (ESI) Atmospheric Pressure Chemical Ionisation (APCI ) Other (specify)
Note on P37: Electron Impact (EI) Chemical Ionisation (CI) Electrospray Ionisation (ESI) Atmospheric Pressure Chemical Ionisation (APCI ) Other (specify)
Note on P38: Electron Impact (EI) Chemical Ionisation (CI) Electrospray Ionisation (ESI) Atmospheric Pressure Chemical Ionisation (APCI ) Other (specify)
Note on P39: Electron Impact (EI) Chemical Ionisation (CI) Electrospray Ionisation (ESI) Atmospheric Pressure Chemical Ionisation (APCI ) Other (specify)
Note on P40: Electron Impact (EI) Chemical Ionisation (CI) Electrospray Ionisation (ESI) Atmospheric Pressure Chemical Ionisation (APCI ) Other (specify)
Note on Q8: + -
Note on Q9: + -
Note on Q10: + -
Note on Q11: + -
Note on Q12: + -
Note on Q13: + -
Note on Q14: + -
Note on Q15: + -
Note on Q16: + -
Note on Q17: + -
Note on Q18: + -
Note on Q19: + -
Note on Q20: + -
Note on Q21: + -
Note on Q22: + -
Note on Q23: + -
Note on Q24: + -
Note on Q25: + -
Note on Q26: + -
Note on Q27: + -
Note on Q28: + -
Note on Q29: + -
Note on Q30: + -
Note on Q31: + -
Note on Q32: + -
Note on Q33: + -
Note on Q34: + -
Note on Q35: + -
Note on Q36: + -
Note on Q37: + -
Note on Q38: + -
Note on Q39: + -
Note on Q40: + -
Note on R8: Tentatively detected (Fully identified (SANTE 11945/2015)
Note on R9: Tentatively detected (Fully identified (SANTE 11945/2015)
Note on R10: Tentatively detected (Fully identified (SANTE 11945/2015)
Note on R11: Tentatively detected (Fully identified (SANTE 11945/2015)
Note on R12: Tentatively detected (Fully identified (SANTE 11945/2015)
Note on R13: Tentatively detected (Fully identified (SANTE 11945/2015)
Note on R14: Tentatively detected (Fully identified (SANTE 11945/2015)
Note on R15: Tentatively detected (Fully identified (SANTE 11945/2015)
Note on R16: Tentatively detected (Fully identified (SANTE 11945/2015)
Note on R17: Tentatively detected (Fully identified (SANTE 11945/2015)
Note on R18: Tentatively detected (Fully identified (SANTE 11945/2015)
Note on R19: Tentatively detected (Fully identified (SANTE 11945/2015)
Note on R20: Tentatively detected (Fully identified (SANTE 11945/2015)
Note on R21: Tentatively detected (Fully identified (SANTE 11945/2015)
Note on R22: Tentatively detected (Fully identified (SANTE 11945/2015)
Note on R23: Tentatively detected (Fully identified (SANTE 11945/2015)
Note on R24: Tentatively detected (Fully identified (SANTE 11945/2015)
Note on R25: Tentatively detected (Fully identified (SANTE 11945/2015)
Note on R26: Tentatively detected (Fully identified (SANTE 11945/2015)
Note on R27: Tentatively detected (Fully identified (SANTE 11945/2015)
Note on R28: Tentatively detected (Fully identified (SANTE 11945/2015)
Note on R29: Tentatively detected (Fully identified (SANTE 11945/2015)
Note on R30: Tentatively detected (Fully identified (SANTE 11945/2015)
Note on R31: Tentatively detected (Fully identified (SANTE 11945/2015)
Note on R32: Tentatively detected (Fully identified (SANTE 11945/2015)
Note on R33: Tentatively detected (Fully identified (SANTE 11945/2015)
Note on R34: Tentatively detected (Fully identified (SANTE 11945/2015)
Note on R35: Tentatively detected (Fully identified (SANTE 11945/2015)
Note on R36: Tentatively detected (Fully identified (SANTE 11945/2015)
Note on R37: Tentatively detected (Fully identified (SANTE 11945/2015)
Note on R38: Tentatively detected (Fully identified (SANTE 11945/2015)
Note on R39: Tentatively detected (Fully identified (SANTE 11945/2015)
Note on R40: Tentatively detected (Fully identified (SANTE 11945/2015)
Note on S8: S
Note on S9: S
Note on S10: S
Note on S11: S
Note on S12: S
Note on S13: S
Note on S14: S
Note on S15: S
Note on S16: S
Note on S17: S
Note on S18: S
Note on S19: S
Note on S20: S
Note on S21: S
Note on S22: S
Note on S23: S
Note on S24: S
Note on S25: S
Note on S26: S
Note on S27: S
Note on S28: S
Note on S29: S
Note on S30: S
Note on S31: S
Note on S32: S
Note on S33: S
Note on S34: S
Note on S35: S
Note on S36: S
Note on S37: S
Note on S38: S
Note on S39: S
Note on S40: S
Note on T8: ppm
Note on T9: ppm
Note on T10: ppm
Note on T11: ppm
Note on T12: ppm
Note on T13: ppm
Note on T14: ppm
Note on T15: ppm
Note on T16: ppm
Note on T17: ppm
Note on T18: ppm
Note on T19: ppm
Note on T20: ppm
Note on T21: ppm
Note on T22: ppm
Note on T23: ppm
Note on T24: ppm
Note on T25: ppm
Note on T26: ppm
Note on T27: ppm
Note on T28: ppm
Note on T29: ppm
Note on T30: ppm
Note on T31: ppm
Note on T32: ppm
Note on T33: ppm
Note on T34: ppm
Note on T35: ppm
Note on T36: ppm
Note on T37: ppm
Note on T38: ppm
Note on T39: ppm
Note on T40: ppm
Note on V8: Yes No
Note on V9: Yes No
Note on V10: Yes No
Note on V11: Yes No
Note on V12: Yes No
Note on V13: Yes No
Note on V14: Yes No
Note on V15: Yes No
Note on V16: Yes No
Note on V17: Yes No
Note on V18: Yes No
Note on V19: Yes No
Note on V20: Yes No
Note on V21: Yes No
Note on V22: Yes No
Note on V23: Yes No
Note on V24: Yes No
Note on V25: Yes No
Note on V26: Yes No
Note on V27: Yes No
Note on V28: Yes No
Note on V29: Yes No
Note on V30: Yes No
Note on V31: Yes No
Note on V32: Yes No
Note on V33: Yes No
Note on V34: Yes No
Note on V35: Yes No
Note on V36: Yes No
Note on V37: Yes No
Note on V38: Yes No
Note on V39: Yes No
Note on V40: Yes No
Note on W8: (mg/kg)
Note on W9: (mg/kg)
Note on W10: (mg/kg)
Note on W11: (mg/kg)
Note on W12: (mg/kg)
Note on W13: (mg/kg)
Note on W14: (mg/kg)
Note on W15: (mg/kg)
Note on W16: (mg/kg)
Note on W17: (mg/kg)
Note on W18: (mg/kg)
Note on W19: (mg/kg)
Note on W20: (mg/kg)
Note on W21: (mg/kg)
Note on W22: (mg/kg)
Note on W23: (mg/kg)
Note on W24: (mg/kg)
Note on W25: (mg/kg)
Note on W26: (mg/kg)
Note on W27: (mg/kg)
Note on W28: (mg/kg)
Note on W29: (mg/kg)
Note on W30: (mg/kg)
Note on W31: (mg/kg)
Note on W32: (mg/kg)
Note on W33: (mg/kg)
Note on W34: (mg/kg)
Note on W35: (mg/kg)
Note on W36: (mg/kg)
Note on W37: (mg/kg)
Note on W38: (mg/kg)
Note on W39: (mg/kg)
Note on W40: (mg/kg)
Note on X8: Yes No
Note on X9: Yes No
Note on X10: Yes No
Note on X11: Yes No
Note on X12: Yes No
Note on X13: Yes No
Note on X14: Yes No
Note on X15: Yes No
Note on X16: Yes No
Note on X17: Yes No
Note on X18: Yes No
Note on X19: Yes No
Note on X20: Yes No
Note on X21: Yes No
Note on X22: Yes No
Note on X23: Yes No
Note on X24: Yes No
Note on X25: Yes No
Note on X26: Yes No
Note on X27: Yes No
Note on X28: Yes No
Note on X29: Yes No
Note on X30: Yes No
Note on X31: Yes No
Note on X32: Yes No
Note on X33: Yes No
Note on X34: Yes No
Note on X35: Yes No
Note on X36: Yes No
Note on X37: Yes No
Note on X38: Yes No
Note on X39: Yes No
Note on X40: Yes No
Note on AA8: (µL)
Note on AA9: (µL)
Note on AA10: (µL)
Note on AA11: (µL)
Note on AA12: (µL)
Note on AA13: (µL)
Note on AA14: (µL)
Note on AA15: (µL)
Note on AA16: (µL)
Note on AA17: (µL)
Note on AA18: (µL)
Note on AA19: (µL)
Note on AA20: (µL)
Note on AA21: (µL)
Note on AA22: (µL)
Note on AA23: (µL)
Note on AA24: (µL)
Note on AA25: (µL)
Note on AA26: (µL)
Note on AA27: (µL)
Note on AA28: (µL)
Note on AA29: (µL)
Note on AA30: (µL)
Note on AA31: (µL)
Note on AA32: (µL)
Note on AA33: (µL)
Note on AA34: (µL)
Note on AA35: (µL)
Note on AA36: (µL)
Note on AA37: (µL)
Note on AA38: (µL)
Note on AA39: (µL)
Note on AA40: (µL)
Note on AD8: Each sample Each batch Daily Once a week Once a month Never Other (specify)
Note on AD9: Each sample Each batch Daily Once a week Once a month Never Other (specify)
Note on AD10: Each sample Each batch Daily Once a week Once a month Never Other (specify)
Note on AD11: Each sample Each batch Daily Once a week Once a month Never Other (specify)
Note on AD12: Each sample Each batch Daily Once a week Once a month Never Other (specify)
Note on AD13: Each sample Each batch Daily Once a week Once a month Never Other (specify)
Note on AD14: Each sample Each batch Daily Once a week Once a month Never Other (specify)
Note on AD15: Each sample Each batch Daily Once a week Once a month Never Other (specify)
Note on AD16: Each sample Each batch Daily Once a week Once a month Never Other (specify)
Note on AD17: Each sample Each batch Daily Once a week Once a month Never Other (specify)
Note on AD18: Each sample Each batch Daily Once a week Once a month Never Other (specify)
Note on AD19: Each sample Each batch Daily Once a week Once a month Never Other (specify)
Note on AD20: Each sample Each batch Daily Once a week Once a month Never Other (specify)
Note on AD21: Each sample Each batch Daily Once a week Once a month Never Other (specify)
Note on AD22: Each sample Each batch Daily Once a week Once a month Never Other (specify)
Note on AD23: Each sample Each batch Daily Once a week Once a month Never Other (specify)
Note on AD24: Each sample Each batch Daily Once a week Once a month Never Other (specify)
Note on AD25: Each sample Each batch Daily Once a week Once a month Never Other (specify)
Note on AD26: Each sample Each batch Daily Once a week Once a month Never Other (specify)
Note on AD27: Each sample Each batch Daily Once a week Once a month Never Other (specify)
Note on AD28: Each sample Each batch Daily Once a week Once a month Never Other (specify)
Note on AD29: Each sample Each batch Daily Once a week Once a month Never Other (specify)
Note on AD30: Each sample Each batch Daily Once a week Once a month Never Other (specify)
Note on AD31: Each sample Each batch Daily Once a week Once a month Never Other (specify)
Note on AD32: Each sample Each batch Daily Once a week Once a month Never Other (specify)
Note on AD33: Each sample Each batch Daily Once a week Once a month Never Other (specify)
Note on AD34: Each sample Each batch Daily Once a week Once a month Never Other (specify)
Note on AD35: Each sample Each batch Daily Once a week Once a month Never Other (specify)
Note on AD36: Each sample Each batch Daily Once a week Once a month Never Other (specify)
Note on AD37: Each sample Each batch Daily Once a week Once a month Never Other (specify)
Note on AD38: Each sample Each batch Daily Once a week Once a month Never Other (specify)
Note on AD39: Each sample Each batch Daily Once a week Once a month Never Other (specify)
Note on AD40: Each sample Each batch Daily Once a week Once a month Never Other (specify)