## EUPT-AO19 Pesticide Target List
EUPT AO 19 Pesticide target list | 22 April 2024 | Version 1.1, changes are marked in red
Test item: Beef meat
Target List of Mandatory Analytes (Annex 1)
Analyte | CAS number | MRRL (mg/kg) | MRL (mg/kg) | MRRL = minimum required reporting level
Aldrin | 309-00-2 | 0.005 | 0.2 (sum) | MRL = maximum residue level in honey (Regulation (EC) No 396/2005)
Azinphos-methyl | 86-50-0 | 0.010 | 0.01* | CAS numbers from EURL-DataPool
Bifenthrin | 82657-04-3 | 0.010 | 0.2 (sum)
Chlordane, cis- | 5103-71-9 | 0.005 | 0.05* (sum)
Chlordane, trans- | 5103-74-2 | 0.005 | 0.05* (sum)
Chlorfenvinphos | 470-90-6 | 0.010 | 0.01*
Chlorpyrifos(-ethyl) | 2921-88-2 | 0.010 | 0.01*
Chlorpyrifos-methyl | 5598-13-0 | 0.010 | 0.01*
Cyfluthrin (sum of isomers) | 68359-37-5 | 0.010 | 0.01 (sum)
Cypermethrin (sum of isomers) | 52315-07-8 | 0.010 | 2.0 (sum)
DDD, p,p´- (TDE) | 72-54-8 | 0.005 | 1.0 (sum)
DDE, p,p´- | 72-55-9 | 0.005 | 1.0 (sum)
DDT, o,p´- | 789-02-6 | 0.005 | 1.0 (sum)
DDT, p,p´- | 50-29-3 | 0.005 | 1.0 (sum)
Deltamethrin (cis-isomer) | 52918-63-5 | 0.010 | 0.03
Diazinon | 333-41-5 | 0.010 | 0.02
Dieldrin | 60-57-1 | 0.005 | 0.2 (sum)
Endosulfan, alpha- | 959-98-8 | 0.005 | 0.05* (sum)
Endosulfan, beta- | 33213-65-9 | 0.005 | 0.05* (sum)
Endosulfan-sulfate | 1031-07-8 | 0.005 | 0.05* (sum)
Endrin | 72-20-8 | 0.005 | 0.05
Famoxadone | 131807-57-3 | 0.010 | 0.05
Fenthion oxon | 6552-12-1 | 0.010 | 0.05*
Fenthion oxon sulfone | 14086-35-2 | 0.010 | 0.05*
Fenthion oxon sulfoxide | 6552-13-2 | 0.010 | 0.05*
Fenthion sulfone | 3761-42-0 | 0.010 | 0.05*
Fenthion sulfoxide | 3761-41-9 | 0.010 | 0.05*
Fenvalerate/Esfenvalerate (sum of RR, SS, RS & SR isomers) | 51630-58-1 | 0.010 | 0.025
Fipronil | 120068-37-3 | 0.005 | 0.005*
Fipronil sulfone | 120068-36-2 | 0.005 | 0.005*
Heptachlor | 76-44-8 | 0.005 | 0.2
Heptachlorepoxid, cis- | 1024-57-3 | 0.005 | 0.2 (sum)
Heptachlorepoxid, trans- | 28044-83-9 | 0.005 | 0.2 (sum)
Hexachlorcylcohexane (HCH), alpha-isomer | 319-84-6 | 0.005 | 0.01*
Hexachlorcylcohexane (HCH), beta-isomer | 319-85-7 | 0.005 | 0.01*
Hexachlorcylcohexane (HCH), gamma-isomer (Lindane) | 58-89-9 | 0.005 | 0.01*
Hexachlorobenzene (HCB) | 118-74-1 | 0.005 | 0.005*
Indoxacarb (sum of isomers) | 173584-44-6 | 0.010 | 2.0 (sum)
lambda-Cyhalothrin (sum of isomers) | 91465-08-6 | 0.010 | 0.02 (sum)
Malathion (parent only) | 121-75-5 | 0.010 | 0.02* (sum)
Methoxychlor, 4,4´- | 72-43-5 | 0.010 | 0.01
Nitrofen | 1836-75-5 | 0.005 | 0.01*
Oxychlordane | 27304-13-8 | 0.005 | 0.01
Parathion(-ethyl) | 56-38-2 | 0.010 | 0.05*
Parathion-methyl (parent only) | 298-00-0 | 0.010 | 0.01* (sum)
Pendimethalin | 40487-42-1 | 0.010 | 0.01*
Permethrin (sum of isomers) | 52645-53-1 | 0.010 | 0.05 (sum)
Phosmet (parent only) | 732-11-6 | 0.010 | 0.01*
Phoxim | 14816-18-3 | 0.010 | 0.02*
Pirimiphos-methyl | 29232-93-7 | 0.010 | 0.01*
Profenofos | 41198-08-7 | 0.010 | 0.05
Pyrazophos | 13457-18-6 | 0.010 | 0.01*
Quintozene (parent only) | 82-68-8 | 0.005 | 0.01* (sum)
Resmethrin (sum of isomers) | 10453-86-8 | 0.010 | 0.02* (sum)
Tecnazene | 117-18-0 | 0.005 | 0.01*
Vinclozolin (parent only) | 50471-44-8 | 0.005 | 0.01*
(*) Indicates lower limit of analytical determination
Target List of Voluntary Analytes (Annex 2)
Analyte | CAS number | MRRL (mg/kg) | MRL (mg/kg) | MRRL = minimum required reporting level
Benzovindiflupyr | 1072957-71-1 | 0.010 | 0.01 | MRL = maximum residue level in honey (Regulation (EC) No 396/2005)
Bixafen (parent only) | 581809-46-3 | 0.010 | 0.8 | CAS numbers from EURL-DataPool
Bixafen-desmethyl | 1655498-06-8 | 0.010 | 0.08
Boscalid (parent only) | 188425-85-6 | 0.010 | 0.01*
Boscalid (hydroxy metabolite 2-chloro-N-(4′-chloro-5-hydroxybiphenyl-2-yl)nicotinamide, free phenol, only) | 661463-87-2 | 0.010 | 0.01*
Carbendazim (Carbendazim only) | 10605-21-7 | 0.010 | 0.05* (sum)
Coumatetralyl | 5836-29-3 | 0.010 | 0.01*
Chlordecone | 143-50-0 | 0.005 | 0.02
Chlorpropham (parent only) | 101-21-3 | 0.010 | 0.05*
Cyproconazole | 94361-06-5 | 0.010 | 0.05*
Didecyldimethylammonium chloride (DDAC-C10) | 7173-51-5 | 0.010 | 0.1
Epoxiconazole | 133855-98-8 | 0.010 | 0.01*
Etofenprox | 80844-07-1 | 0.010 | 0.06
Fenpropidin (parent only) | 67306-00-7 | 0.010 | 0.02* (sum)
Fenpyrazamine | 473798-59-3 | 0.010 | 0.02*
Fenpropimorph (parent only) | 67564-91-4 | 0.010 | 0.02
Fluopyram | 658066-35-4 | 0.010 | 0.15
Fluopyram benzamide | 360-64-5 | 0.010 | 0.15
Fluquinconazole | 136426-54-5 | 0.010 | 0.01*
Flusilazole (parent only) | 85509-19-9 | 0.010 | 0.02*
Metaflumizone (sum of isomers) | 139968-49-3 | 0.010 | 0.02*
Penflufen (sum of isomers) | 494793-67-8 | 0.010 | 0.01* (sum)
Penthiopyrad | 183675-82-3 | 0.010 | 0.01*
Prochloraz (parent only) | 67747-09-5 | 0.010 | 0.03* (sum)
BTS 44595 (Prochloraz metabolite) | 139520-94-8 | 0.010 | 0.03* (sum)
BTS 44596 (Prochloraz metabolite) | 139542-32-8 | 0.010 | 0.03* (sum)
Prothioconazole-desthio (sum of isomers) | 120983-64-4 | 0.010 | 0.01 (sum)
Spinosyn A(2) | 131929-60-7 | 0.010 | 0.3 (sum)
Spinosyn D(2) | 131929-63-0 | 0.010 | 0.3 (sum)
Spinosad(1) | 168316-95-8 | 0.010 | 0.3 (sum)
Spiroxamine (parent only, sum od isomers) | 118134-30-8 | 0.010 | 0.03
Sulfoxaflor (sum of isomers) | 946578-00-3 | 0.010 | 0.3 (sum)
tau-Fluvalinate (sum of isomers) | 102851-06-9 | 0.010 | 0.05 (sum)
Tebuconazole | 107534-96-3 | 0.010 | 0.1*
Tebuconazole, Hydroxy- (free phenol, only) | 212267-64-6 | 0.010 | 0.1*
Tetraconazole (sum of isomers) | 112281-77-3 | 0.010 | 0.015 (sum)
Thiacloprid | 111988-49-9 | 0.010 | 0.1
Thiophanate methyl | 23564-05-8 | 0.010 | 0.05*
Mefentrifluconazole | 1417782-03-6 | 0.010 | 0.04
Metconazole (sum of isomers) | 125116-23-6 | 0.010 | 0.02*
Molinate | 2212-67-1 | 0.010 | 0.01*
Oxadiargyl | 39807-15-3 | 0.010 | 0.01*
Oxasulfuron | 144651-06-9 | 0.010 | 0.01*
Oxyfluorfen | 42874-03-3 | 0.010 | 0.01*
Picolinafen | 137641-05-5 | 0.010 | 0.02*
Propaquizafop (parent only) | 111479-05-1 | 0.010 | 0.02* (sum)
Pyraclostrobin | 175013-18-0 | 0.010 | 0.05*
Quinoclamine | 2797-51-5 | 0.010 | 0.02*
(1) Results for Spinosad should be reported either if individual standards for Spinosyn A and D or a mixture of Spinosyn A and D are used for quantification. |  |  | (*) Indicates lower limit of analytical determination
(2) Results for Spinosyn A or D should be reported, if the individual standards were used for quantification!.