## Instructions
EUROPEAN UNION PROFICIENCY TEST FOR SPECIAL COMMODITIES
Please, introduce your data in the blue fields and send the file to cferrer@ual.es by 9th January 2023
Please, submit your results with this Excel file, and DO NOT INSERT OR DELETE ANY LINE
If you have any question, please contact Carmen Ferrer (cferrer@ual.es)
To submit results for EUPT-FV-SC06 you have to enter your data in the next tab. It contains instructions on how to enter the data.
IMPORTANT: IF THE DROP-DOWN TOOL DOES NOT WORK IN THE CELLS, PLEASE, CHECK THE LAST TAB TO KNOW HOW TO FILL IN THE FORMS
In the "Results" tab please indicate the laboratory scope by filling in the pesticides that you have analysed for with their corresponding limit of quantification (LOQ) in mg/kg. Please do so for all the pesticides of the target list, not only for those that you have detected. For the identified pesticides, please enter your results such as concentration, recoveries, etc. Please remember that many of the fields that you have to fill in are drop-down lists, so you only have to select one of the offered possibilities. If you want to introduce any other text not offered by us, just do so by writing it directly. If the drop-down tool does not work, you can find the different options offered in the last tab: “RESULTS fill in help”

## Results
[29 empty] | method | YESORNO | solvent | cleanUp | calibration | GC | lc | confirmation | rec | istd | ioniz | polarity | yesornowater | yesorno
| Please indicate the laboratory scope by filling in the pesticides that you have analysed for with their corresponding limit of quantification (LOQ) in mg/kg. Please do so for all the pesticides of the target list, not only for those that you have detected. For the identified pesticides, please enter your results such as concentration, recoveries, etc. Please remember that many of the fields that you have to fill in are drop-down lists, so you only have to select one of the offered possibilities. If you want to introduce any other text not offered by us, just do so by writing it directly. If the drop-down tool does not work, you can find the different options offered in the last tab: “RESULTS fill in help” | [27 empty] | Method 1 | Yes | Acetone | SPE, solid phase extraction column | Matrix matched-Single Level | ECD | DAD | None | Rec. from the same batch | No | EI (Electron Ionisation) | Positive | Yes (please, specify mL) | Yes
Results of the Proficiency Test EUPT-FV-SC06 | [28 empty] | Method 2 | No | Acetonitrile | DSPE, dispersive solid phase extraction | Matrix matched-Multiple Level | NPD | Fluorescence | Two columns | Rec. from validation data | Yes: Isotopically labelled (target pesticide) | CI (Chemical Ionisation) | Negative | No | No
[29 empty] | Method 3 |  | Cyclohexane | GPC, gel permeation chromatography | Pure solvent-Single Level | FPD | UV | LC-MS (IT) | Via Isotopically labelled ISTD | Yes: Isotopically labelled (another compound, enter the name under “ISTD details”) | ESI (Electrospray Ionisation)
| Laboratory name: | [27 empty] | Method 4 |  | Dichloromethane | Liquid-liquid partitioning | Pure solvent-Multiple Level | FID | MS (IT) | LC-MS (tQ) | Via Standard Addition | Yes: Other (Please Specify) | APCI (Atmospheric pressure chemical ionization)
[29 empty] | Method 5 |  | Ethyl acetate | Freezing out | Standard Addition | MS (IT) | MS (tQ) | LC-MS (TOF) | Other (Please Specify) |  | Other (Please Specify)
| Laboratory Code: |  |  | Sample number: | [24 empty] | Method 6 |  | Methanol | None | Other (Please Specify) | MS (sQ) | MS (TOF) | LC-MS (QTOF)
[29 empty] | Method 7 |  | Petroleum ether | Other (Please Specify) |  | MS (tQ) | MS (QTOF) | LC-MS (Orbitrap)
PESTICIDE: | Analysed for? | Identified? | Limit of Quantification LOQ (mg/kg) | Concentration (mg/kg) | Sample weight (g) | Extraction solvent 1 | Extraction solvent 2 | Extraction solvent 3 | Is water added prior to extraction? | If so, how much water, in mL, was added to the sample? | Soaking time (min) | Is pH adjusted with buffer? | Extraction details (ultraturrax, etc,) | Clean-up | Clean-up details (sorbents, etc) | Calibration | If analysed by GC, please select detector | If analysed by LC, please select detector | Ionisation mode | Polarity | Recovery Approach | Recovery (%) | No of analyses for recovery calculations | Are results corrected for recovery? | Is this pesticide included in your routine scope? | Is this pesticide accredited? | ISTD used? | ISTD details | Method 8 |  | Other (Please Specify) |  |  | MS (TOF) | MS (Orbitrap) | GC-MS (sQ)
Acephate | [28 empty] | Method 9 |  |  |  |  | MS (QTOF) | Other (Please Specify) | GC-MS (IT)
Acetamiprid | [28 empty] | Method 10 |  |  |  |  | Other (Please Specify) |  | GC-MS (tQ)
Aclonifen
Acrinathrin | [35 empty] | GC-MS (TOF)
Aldicarb | [35 empty] | GC-MS (QTOF)
Aldicarb Sulfone | [35 empty] | Other (Please Specify)
Aldicarb Sulfoxide
Aldrin
Ametoctradin
Azinphos-methyl
Azoxystrobin
Bifenthrin (sum of isomers)
Biphenyl
Bitertanol (sum of isomers)
Boscalid
Bromopropylate
Bromuconazole (sum of diastereoisomers)
Bupirimate
Buprofezin
Cadusafos
Carbaryl
Carbendazim
Carbofuran
Carbofuran-3-hydroxy
Chlorantraniliprole
Chlorfenapyr
Chlorfenvinphos
Chlorobenzilate
Chlorothalonil
Chlorpropham
Chlorpyrifos
Chlorpyrifos-methyl
Clofentezine
Clothianidin
Cyantraniliprole
Cyazofamid
Cyflufenamid: sum of cyflufenamid (Z-isomer) and its E-isomer
Cyfluthrin (cyfluthrin incl. other mixtures of constituent isomers (sum of isomers))
Cymoxanil
Cypermethrin (cypermethrin incl. other mixtures of constituent isomers (sum of isomers))
Cyproconazole
Cyprodinil
Deltamethrin (cis-deltamethrin)
Demeton-S-methylsulfone
Diazinon
Dichlofluanid
Dichlorvos
Dicloran
Dicofol (sum of p, p´ and o,p´ isomers)
Dieldrin
Diethofencarb
Difenoconazole
Diflubenzuron
Dimethoate
Dimethomorph (sum of isomers)
Dimethylaminosulfotoluidide (DMST)
Diniconazole (sum of isomers)
Diphenylamine
Endosulfan alpha
Endosulfan beta
Endosulfan sulfate
EPN
Epoxiconazole
Ethion
Ethirimol
Ethoprophos
Etofenprox
Etoxazole
Famoxadone
Fenamidone
Fenamiphos
Fenamiphos sulfone
Fenamiphos sulfoxide
Fenarimol
Fenazaquin
Fenbuconazole
Fenhexamid
Fenitrothion
Fenoxycarb
Fenpropathrin
Fenpropidin
Fenpropimorph (sum of isomers)
Fenpyrazamine
Fenpyroximate
Fenthion
Fenthion oxon
Fenthion oxon sulfone
Fenthion oxon sulfoxide
Fenthion sulfone
Fenthion sulfoxide
Fenvalerate (any ratio of constituent isomers (RR, SS, RS & SR) including esfenvalerate)
Fipronil
Fipronil sulfone
Flonicamid
Flubendiamide
Fludioxonil
Flufenoxuron
Fluopicolide
Fluopyram
Fluquinconazole
Flusilazole
Flutolanil
Flutriafol
Fluxapyroxad
Fosthiazate
Hexaconazole
Hexythiazox
Imazalil
Imidacloprid
Indoxacarb (sum of indoxacarb and its R enantiomer)
Iprodione
Iprovalicarb
Isocarbophos
Isofenphos-methyl
Isoprothiolane
Kresoxim-methyl
Lambda-Cyhalothrin
Linuron
Lufenuron (any proportion of constituent isomers)
Malaoxon
Malathion
Mandipropamid
Mepanipyrim
Metaflumizone (sum of E- and Z- isomers)
Metalaxyl and metalaxyl-M
Methamidophos
Methidathion
Methiocarb
Methiocarb sulfone
Methiocarb sulfoxide
Methomyl
Methoxyfenozide
Metrafenone
Monocrotophos
Myclobutanyl
Omethoate
Orthophenylphenol (Free compound only)
Oxadixyl
Oxamyl
Oxydemeton-methyl
Paclobutrazole
Paraoxon-methyl
Parathion-ethyl
Parathion-methyl
Penconazole
Pencycuron
Pendimethalin
Permethrin (sum of isomers)
Phenthoate
Phosalone
Phosmet
Phosmet oxon
Phoxim
Pirimicarb
Pirimicarb-desmethyl
Pirimiphos-methyl
Prochloraz (only parent compound)
Procymidone
Profenofos
Propamocarb (only parent compound)
Propargite
Propiconazole (sum of isomers)
Propyzamide
Proquinazid
Prosulfocarb
Prothioconazole (Prothioconazole-desthio) (sum of isomers)
Prothiofos
Pymetrozine
Pyraclostrobin
Pyridaben
Pyridalyl
Pyrimethanil
Pyriproxyfen
Quinoxyfen
Spinetoram (XDE-175)
Spinosad (sum of spinosyn A and spinosyn D, expr. as spinosad)
Spirodiclofen
Spiromesifen
Spirotetramat
Spirotetramat metabolite BYI08330-enol
Spiroxamine (sum of isomers)
Sulfoxaflor (sum of isomers)
Tau-Fluvalinate
Tebuconazole
Tebufenozide
Tebufenpyrad
Teflubenzuron
Tefluthrin
Terbuthylazine
Tetraconazole
Tetradifon
Thiabendazole
Thiacloprid
Thiamethoxam
Thiodicarb
Thiophanate-methyl
Tolclofos-methyl
Tolylfluanid
Triadimefon
Triadimenol (any proportion of constituent isomers)
Triazophos
Trichlorfon
Tricyclazole
Trifloxystrobin
Triflumizole
Triflumizole metabolite (FM-6-1)
Triflumuron
Trifluralin
Triticonazole
Vinclozolin (only parent compound)
Zoxamide

## RESULTS fill in help
This form is only for information
Results of the Proficiency Test EUPT-FV-SC06
Laboratory name:
| Laboratory Code: |  |  | Sample number:
PESTICIDE: | Analysed for? | Identified? | Limit of Quantification LOQ (mg/kg): | Concentration (mg/kg) | Sample weight | Extraction solvent 1 | Extraction solvent 2 | Extraction solvent 3 | Is water added prior to extraction? | If so, how much water, in mL, was added to the sample? | Soaking time (min) | Is pH adjusted with buffer? | Extraction details (ultraturrax, etc,) | Clean-up | Clean-up details (sorbents, etc) | Calibration: | If analysed by GC, please select detector | If analysed by LC, please select detector | Ionisation mode: | Polarity | Recovery Approach: | Recovery (%) | No of analyses for recovery calculations | Are results corrected for recovery? | Is this pesticide included in your routine scope? | Is this pesticide accredited? | ISTD used?: | ISTD details
XXXXX
XXXXX
XXXXX
| Options to choose | Options to choose |  |  |  | Options to choose | Options to choose | Options to choose | Options to choose |  |  | Options to choose |  | Options to choose |  | Options to choose | Options to choose | Options to choose | Options to choose | Options to choose | Options to choose |  |  | Options to choose | Options to choose | Options to choose | Options to choose
| Yes | Yes |  |  |  | Acetone | Acetone | Acetone | Yes |  |  | Yes |  | SPE, solid phase extraction column |  | Matrix matched-Single Level | ECD | DAD | EI (Electron Ionisation) | Positive | Rec. from the same batch |  |  | Yes | Yes | Yes | No
| No | No |  |  |  | Acetonitrile | Acetonitrile | Acetonitrile | No |  |  | No |  | DSPE, dispersive solid phase extraction |  | Matrix matched-Multiple Level | NPD | Fluorescence | CI (Chemical Ionisation) | Negative | Rec. from validation data |  |  | No | No | No | Yes: Isotopically labelled (target pesticide)
[6 empty] | Cyclohexane | Cyclohexane | Cyclohexane | [5 empty] | GPC, gel permeation chromatography |  | Pure solvent-Single Level | FPD | UV | ESI (Electrospray Ionisation) |  | Via Isotopically labelled ISTD | [5 empty] | Yes: Isotopically labelled (another compound, enter the name under “ISTD details”)
[6 empty] | Dichloromethane | Dichloromethane | Dichloromethane | [5 empty] | Liquid-liquid partitioning |  | Pure solvent-Multiple Level | FID | MS (IT) | APCI (Atmospheric pressure chemical ionization) |  | Via Standard Addition | [5 empty] | Yes: Other (Please Specify)
[6 empty] | Ethyl Acetate | Ethyl Acetate | Ethyl Acetate | [5 empty] | Freezing out |  | Standard Addition | MS (IT) | MS (tQ) | Other (Please Specify) |  | Other (Please Specify)
[6 empty] | Methanol | Methanol | Methanol | [5 empty] | None |  | Other (Please Specify) | MS (sQ) | MS (TOF)
[6 empty] | Petroleum ether | Petroleum ether | Petroleum ether | [5 empty] | Other (Please Specify) |  |  | MS (tQ) | MS (QTOF)
[6 empty] | Other (Please Specify) | Other (Please Specify) | Other (Please Specify) | [8 empty] | MS (TOF) | MS (Orbitrap)
[17 empty] | MS (QTOF) | Other (Please Specify)
Other (Please Specify)